IDA Ref. No:

TECHNICAL REQUIREMENTS OF ISO/IEC 17025: 2017

Date/s of evaluation:

Assessor/s & Observers:

Laboratory:

Area / field of operation

Laboratory	Representative

This report covers the following:

| Document Review only |  | Implementation on Site Visit only |  | Document Review and Site Visit |  | Other |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| REQUIREMENTS & COMMENTS. |  | Compliance = C, Non-compliance = NC |  |  |  |  |  |

NB: The order of assessment does not need to follow the order of the checklist. Assessors are expected to know & have the standard, this worksheet is designed as guidance to prompt detailed recording of the process.

REFER TO ISO/IEC 17025:2017 FOR DETAIL AND FOR CLARIFICATION NOTES.

NOTE 1: For CAB’s comments: The CAB must provide information on how requirements have been addressed, documented and/or implemented. Make reference to policies / procedures, incl. clause numbers.

NOTE 2: For Assessor’s Comments:	The Assessor must provide information on the CAB’s conformity with the requirements.

Issue no. 2	Page 1 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  | NC |  |  |

- RESOURCE REQUIREMENTS

6.1	Availability	of	personnel,	facilities,	equipment,

systems	and	support	services	necessary	for	the

management and performance laboratory activities.

6.2	Personnel: How are the following addressed/implemented?

6.2.1	Personnel,	either	internal	or	external,	that	could

influence the laboratory activities act impartially, are

competent	and	work	in	accordance	with	the

laboratory’s management system.

6.2.2	Competence	requirements	are	documented	for

each  function  influencing  the  results  of  laboratory

activities,	including	requirements	for	education,

qualification,	training,	technical	knowledge,	skills

and experience.

6.2.3	Personnel	have	the	competence	to	perform

laboratory  activities for  which they  are  responsible

and to evaluate the significance of deviations.

6.2.4	Laboratory management communicate to personnel

their duties, responsibilities and authorities.

6.2.5	The laboratory has procedure(s) and retain records

for:

- determining the competence requirements;

- selection of personnel;

- training of personnel;

Issue no.2	Page 2 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- supervision of personnel;

- authorization of personnel;

- monitoring of competence of personnel.

| 6.2.6 |  | Personnel authorized to perform specific laboratory |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | activities, including but not limited to, the following: |  |  |  |
|  |  | a) development, modification, verification and |  |  |  |
|  |  | validation of methods; |  |  |  |
|  |  | b) analysis of results, including statements of |  |  |  |
|  |  | conformity or opinions and interpretations; |  |  |  |
|  |  | c) report, review and authorization of results. |  |  |  |
| 6.3 |  | Facilities and environmental conditions: How are the following addressed/implemented? |  |  |  |
| 6.3.1 |  | Facilities and environmental conditions are suitable |  |  |  |
| Note in |  | for the laboratory activities and are not adversely |  |  |  |
| Std. |  | affecting the validity of results. |  |  |  |
| 6.3.2 |  | Requirements for facilities and environmental |  |  |  |
|  |  | conditions necessary for the performance of the |  |  |  |
|  |  | laboratory activities are documented. |  |  |  |
| 6.3.3 |  | Laboratorymonitors,controlsandrecords |  |  |  |
|  |  | environmental conditions in accordance with |  |  |  |
|  |  | relevant specifications, methods or procedures or |  |  |  |
|  |  | where they influence the validity of the results. |  |  |  |

Issue no. 2	Page 3 of 30	Date of issue: 2019-11-25

|  | CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |
|  | 6.3.4 |  | Measures to control facilities are implemented, |  |  |  |  |  |  |  |
|  |  |  | monitored and periodically reviewed and including, |  |  |  |  |  |  |  |
|  |  |  | but not be limited to: |  |  |  |  |  |  |  |

- access to and use of areas affecting laboratory activities;

- prevention of contamination, interference or adverse influences on laboratory activities;

- effective separation between areas with incompatible laboratory activities.

| 6.3.5 | Requirements related to facilities and environmental |  |  |  |
| --- | --- | --- | --- | --- |
|  | conditions of this document are met when the |  |  |  |
|  | laboratory performs laboratory activities at sites or |  |  |  |
|  | facilities outside its permanent control. |  |  |  |
| 6.4 | Equipment: How are the following addressed/implemented? |  |  |  |
| 6.4.1 | Laboratory has access to equipment required for |  |  |  |
| Note in | the correct performance of laboratory activities and |  |  |  |
| Std. | which can influence the result. |  |  |  |
| 6.4.2 | Requirements for equipment of this document are |  |  |  |
|  | met in those cases where the laboratory uses |  |  |  |
|  | equipment outside its permanent control. |  |  |  |
| 6.4.3 | Procedure for handling, transport, storage, use and |  |  |  |
|  | planned maintenance of equipment in order to |  |  |  |
|  | ensureproperfunctioningandtoprevent |  |  |  |
|  | contamination or deterioration. |  |  |  |

Issue no.2	Page 4 of 30	Date of issue: 2019-11-25

|  | CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |
|  | 6.4.4 |  | Verify that equipment conforms to specified |  |  |  |  |  |  |  |
|  |  |  | requirements before being placed or returned into |  |  |  |  |  |  |  |
|  |  |  | service. |  |  |  |  |  |  |  |
|  | 6.4.5 |  | Equipment used for measurement are capable of |  |  |  |  |  |  |  |
|  |  |  | achievingthemeasurementaccuracyor |  |  |  |  |  |  |  |
|  |  |  | measurement uncertainty required to provide a valid |  |  |  |  |  |  |  |
|  |  |  | result. |  |  |  |  |  |  |  |
|  | 6.4.6 |  | Measuring equipment are calibrated when: |  |  |  |  |  |  |  |
|  | Note in |  |  |  |  |  |  |  |  |  |
|  | Std. |  | The measurement accuracy or measurement |  |  |  |  |  |  |  |
|  |  |  | uncertainty affects the validity of the reported |  |  |  |  |  |  |  |
|  |  |  | results, or |  |  |  |  |  |  |  |

- Calibration of the equipment is required to establish the metrological traceability of the reported result.

6.4.7	Establish	a	calibration	programme,	which	gets

reviewed	and	adjusted	as	necessary	in	order	to

maintain confidence in the status of calibration.

6.4.8	Equipment	requiring	calibration,	or	which	has	a

defined	period	of	validity	are	labelled,	coded	or

otherwise identified.

6.4.9	Equipment subjected to overloading or mishandling,

See 7.10	gives questionable results, or shown to be defective

or outside specified requirements, are taken out of

service.

Isolated	to	prevent	its	use	or	clearly	labelled	or

marked  as  being  out	of	service  until  it	has  been

verified to perform correctly.

Issue no. 2	Page 5 of 30	Date of issue: 2019-11-25

|  | CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |

Examine the  effect of  the  defect  or deviation from

specified	requirements	and	shall	initiate	the

management of nonconforming work procedure.

6.4.10	When	intermediate	checks	are	necessary	to

maintain	confidence	in	the	performance	of	the

equipment, these checks are carried out according

to a procedure.

6.4.11	Reference	values	and	correction	factors	are

updated	and	implemented	when	calibration	and

reference material data include reference values or

correction factors.

6.4.12	Practicable	measures	are	taken	to	prevent

unintended	adjustments	of	equipment	from

invalidating results.

6.4.13	Records	are	retained	for	equipment	which	can

influence	laboratory	activities.	The	records	shall

include the following, where applicable:

- the identity of equipment, including software and firmware version;

- the manufacturer’s name, type identification, and serial number or other unique identification;

- evidence of verification that equipment conforms with specified requirements;

- the current location;

- calibration dates, results of calibrations, adjustments, acceptance criteria, and the due date of the next calibration or the calibration interval;

Issue no.2	Page 6 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- documentation of reference materials, results, acceptance criteria, relevant dates and the period of validity;

- the maintenance plan and maintenance carried out to date, where relevant to the performance of the equipment;

- details of any damage, malfunction, modification to, or repair of, the equipment.

| 6.5 | Metrological traceability: How are the following addressed/implemented? |
| --- | --- |
| 6.5.1 | Establish and maintain metrological traceability of |
| Note in | measurement results by means of a documented |
| Std. | unbroken chain of calibrations, each contributing to |
|  | the measurement uncertainty, linking them to an |
|  | appropriate reference. |

6.5.2	Measurement	results	are	traceable	to	the

Notes in	International System of Units (SI) through one of the

Std	following:

- calibration provided by a competent laboratory;

B)	certified values of  certified reference materials

provided by a competent producer with stated

metrological traceability to the SI;

- direct realization of the SI units ensured by comparison, directly or indirectly, with national or international standards.

| 6.5.3 | Demonstratemetrological | traceabilitytoan |  |
| --- | --- | --- | --- |
| Issue no. 2 |  | Page 7 of 30 | Date of issue: 2019-11-25 |

| CLAUSE |  |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | How are the following addressed / implemented |  |  |  | NC |  |  |
|  |  | appropriate reference when metrological traceability |  |  |  |  |  |  |  |
|  |  | to the SI units is not technically possible, e.g. |  |  |  |  |  |  |  |
|  |  | a) | certified values of certified reference materials |  |  |  |  |  |  |
|  |  |  | provided by a competent producer; |  |  |  |  |  |  |
|  |  | b) | results of reference measurement procedures, |  |  |  |  |  |  |
|  |  |  | specified methods or consensus standards that |  |  |  |  |  |  |
|  |  |  | are clearly described and accepted as providing |  |  |  |  |  |  |
|  |  |  | measurement results fit for their intended use |  |  |  |  |  |  |
|  |  |  | and ensured by suitable comparison. |  |  |  |  |  |  |
| 6.6 |  | Externally provided products and services: How are the following addressed/implemented? |  |  |  |  |  |  |  |
| 6.6.1 |  | Only suitable externally provided products and |  |  |  |  |  |  |  |
| Note in |  | services that affect laboratory activities are |  | used, |  |  |  |  |  |
| Std. |  | when such products and services: |  |  |  |  |  |  |  |
|  |  | a) are intended for incorporation into |  | the |  |  |  |  |  |
|  |  |  | laboratory’s own activities; |  |  |  |  |  |  |

- are provided, in part or in full, directly to the customer by the laboratory, as received from the external provider;

- are used to support the operation of the laboratory.

6.6.2	Have a procedure and retain records for:

a)	defining,	reviewing	and	approving	the

laboratory’s	requirements	for	externally

provided products and services;

- defining the criteria for evaluation, selection, monitoring of performance and re-evaluation of the external providers;

Issue no.2	Page 8 of 30	Date of issue: 2019-11-25

| CLAUSE |  |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | How are the following addressed / implemented |  |  | NC |  |  |
|  | c)ensuring that externally provided products and |  |  |  |  |  |  |  |
|  |  |  | servicesconformtothelaboratory’s |  |  |  |  |  |
|  |  |  | established requirements, or when applicable, |  |  |  |  |  |
|  |  |  | to the relevant requirements of this document, |  |  |  |  |  |
|  |  |  | before they are used or directly provided to the |  |  |  |  |  |
|  |  |  | customer; |  |  |  |  |  |
|  | d) | taking any actions |  | arising from evaluations, |  |  |  |  |
|  |  |  | monitoring of performance and re-evaluations |  |  |  |  |  |
|  |  |  | of the external providers. |  |  |  |  |  |
| 6.6.3 | Communicate its requirements to external providers |  |  |  |  |  |  |  |
|  | for: |  |  |  |  |  |  |  |
|  | a) the products and services to be provided; |  |  |  |  |  |  |  |
|  | b) |  | the acceptance criteria; |  |  |  |  |  |
|  | c) competence, including any required |  |  |  |  |  |  |  |
|  |  |  | qualification of personnel; |  |  |  |  |  |
|  | d) |  | activities that the laboratory, or its customer, |  |  |  |  |  |
|  |  |  | intends to perform at the external provider’s |  |  |  |  |  |
|  |  |  | premises. |  |  |  |  |  |
| 7 | Process Requirements: How are the following addressed/implemented? |  |  |  |  |  |  |  |
| 7.1 | Review of requests, tenders and contracts |  |  |  |  |  |  |  |
| 7.1.1 | Procedure for the review of requests, tenders and |  |  |  |  |  |  |  |
| Note in | contracts. The procedure shall ensure that: |  |  |  |  |  |  |  |
| Std. |  |  |  |  |  |  |  |  |
|  | a) | the requirements |  | are adequately defined, |  |  |  |  |
|  |  |  | documented and understood; |  |  |  |  |  |
| Issue no. 2 |  |  |  |  | Page 9 of 30 |  | Date of issue: 2019-11-25 |  |

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |

- the laboratory has the capability and resources to meet the requirements;

- where external providers are used, the requirements of 6.6 are applied and the laboratory advises the customer of the specific laboratory activities to be performed by the external provider and gains the customer’s approval;

- the appropriate methods or procedures are selected and are capable of meeting the customers’ requirements.

7.1.2	Inform the customer when the method requested by

the  customer  is  considered  to  be  inappropriate  or

out of date.

7.1.3	When	the	customer	requests	a	statement	of

conformity to a specification or standard for the test

or	calibration	(e.g.	pass/fail,	in-tolerance/out-of-

tolerance)	the	specification	or	standard,	and	the

decision	rule  is  clearly	defined,	communicated	to

and agreed with the customer.

7.1.4	Any differences between the request or tender and

the contract are resolved before laboratory activities

commence.

7.1.5	Customer	is	informed	of	any	deviation	from	the

contract

7.1.6	Contract amended after work has commenced, the

contract  review  is  repeated  and  any  amendments

communicated to all affected personnel.

Issue no.2	Page 10 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  |  |  |  |  | CAB’s COMMENTS | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  |  |  |  | NC |  |  |  |
| 7.1.7 |  | Cooperate with customers or their representatives |  |  |  |  |  |  |  |  |  |  |
| Note in |  | in clarifying | the | customer’s | request and |  | in |  |  |  |  |  |
| Std. |  | monitoring the laboratory’s performance in relation |  |  |  |  |  |  |  |  |  |  |
|  |  | to the work performed. |  |  |  |  |  |  |  |  |  |  |
| 7.1.8 |  | Records of reviews, pertinent discussions with a |  |  |  |  |  |  |  |  |  |  |
|  |  | customer relating to the customer’s requirements or |  |  |  |  |  |  |  |  |  |  |
|  |  | the results, including any significant changes, are |  |  |  |  |  |  |  |  |  |  |
|  |  | retained. |  |  |  |  |  |  |  |  |  |  |
| 7.2 |  | Selection, verification and validation of methods: How are the following addressed/implemented? |  |  |  |  |  |  |  |  |  |  |
| 7.2.1 |  | Selection and verification of methods |  |  |  |  |  |  |  |  |  |  |
| 7.2.1.1 |  | Use appropriate methods and procedures for all |  |  |  |  |  |  |  |  |  |  |
| Note in |  | laboratory activities |  | and, where | appropriate, |  | for |  |  |  |  |  |
| Std. |  | evaluation of the measurement uncertainty as well |  |  |  |  |  |  |  |  |  |  |
|  |  | as statistical techniques for analysis of data. |  |  |  |  |  |  |  |  |  |  |
| 7.2.1.2 |  | Allmethods, | procedures |  | and | supporting |  |  |  |  |  |  |
| Note in |  | documentation, | such as instructions, |  |  | standards, |  |  |  |  |  |  |
| Std. |  | manuals and reference data are kept up to date and |  |  |  |  |  |  |  |  |  |  |
|  |  | made readily available to personnel. |  |  |  |  |  |  |  |  |  |  |
| 7.2.1.3 |  | When the customer does not specify the method to |  |  |  |  |  |  |  |  |  |  |
|  |  | be used, the laboratory selects an appropriate |  |  |  |  |  |  |  |  |  |  |
|  |  | method and inform the customer of the method |  |  |  |  |  |  |  |  |  |  |
|  |  | chosen. |  |  |  |  |  |  |  |  |  |  |

Use	of	methods	published	either	in  international,

regional	or	national	standards,	or	by	reputable

technical organizations, or in relevant scientific texts

or	journals,	or	as	specified	by	the	manufacturer

recommended.

Laboratory-developed or modified methods can also

be used.

Issue no. 2	Page 11 of 30	Date of issue: 2019-11-25

| CLAUSE | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | How are the following addressed / implemented |  |  | NC |  |  |
| 7.2.1.4 | Methods verified before introducing them by |  |  |  |  |  |
|  | ensuring that it can achieve the required |  |  |  |  |  |
|  | performance. Records of the verification | are |  |  |  |  |
|  | retained. If the method is revised by the issuing |  |  |  |  |  |
|  | body, verification is repeated to the extent |  |  |  |  |  |
|  | necessary. |  |  |  |  |  |
| 7.2.1.5 | When method development is required, it is a |  |  |  |  |  |
|  | planned activity and is assigned to competent |  |  |  |  |  |
|  | personnel equipped with adequate resources. |  |  |  |  |  |
|  | Periodic review is carried out to confirm that the |  |  |  |  |  |
|  | needs of the customer are still being fulfilled during |  |  |  |  |  |
|  | method development. Any modifications to the |  |  |  |  |  |
|  | development plan is approved and authorized. |  |  |  |  |  |
| 7.2.1.6 | Deviations from methods are all documented, |  |  |  |  |  |
| Note in | technically justified, authorized, and accepted | by |  |  |  |  |
| Std. | the customer. |  |  |  |  |  |
| 7.2.2 | Validation of methods: How are the following addressed/implemented? |  |  |  |  |  |
| 7.2.2.1 | Validatenon-standardmethods,laboratory- |  |  |  |  |  |
| Note in | developed methods and standard methods used |  |  |  |  |  |
| Std. | outside their intended scope or otherwise modified. |  |  |  |  |  |
|  | The validation to be as extensive as is necessary to |  |  |  |  |  |
|  | meet the needs of the given application or field of |  |  |  |  |  |
|  | application. |  |  |  |  |  |
| 7.2.2.2 | Changes made to a validated method, the influence |  |  |  |  |  |
|  | of such changes is determined and where they are |  |  |  |  |  |
|  | found to affect the original validation, a new method |  |  |  |  |  |
|  | validation to be performed. |  |  |  |  |  |

Issue no.2	Page 12 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |
| 7.2.2.3 |  | Performance characteristics of validated methods |  |  |  |  |  |  |  |
| Note in |  | as assessed for the intended use, is relevant to the |  |  |  |  |  |  |  |
| Std. |  | customers’ needs and consistent with specified |  |  |  |  |  |  |  |
|  |  | requirements. |  |  |  |  |  |  |  |
| 7.2.2.4 |  | Laboratory retains the following records of |  |  |  |  |  |  |  |
|  |  | validation: |  |  |  |  |  |  |  |

- the validation procedure used;

- specification of the requirements;

- determination of the performance characteristics of the method;

- results obtained;

- statement on the validity of the method, detailing its fitness for the intended use.

7.3	Sampling: How are the following addressed/implemented?

7.3.1	Sampling	plan	and	method	available	when

lab/facility	carries	out	sampling	of	substances,

materials	or	products	for	subsequent	testing	or

calibration.

Sampling	method	addresses	the	factors	to	be

controlled	to	ensure	the	validity	of	subsequent

testing or calibration results.

Issue no. 2	Page 13 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  | NC |  |  |
|  | The sampling plan and method available at the site |  |  |  |  |  |
|  | where sampling is undertaken. Sampling plans, |  |  |  |  |  |
|  | whenever reasonable, be based on appropriate |  |  |  |  |  |
|  | statistical methods. |  |  |  |  |  |
| 7.3.2 | The sampling method describes: |  |  |  |  |  |
| Note in |  |  |  |  |  |  |
| Std. | a) | the selection of samples or sites; |  |  |  |  |
|  | b) | the sampling plan; |  |  |  |  |
|  | c) | preparation and treatment of sample(s) from a |  |  |  |  |
|  |  | substance, material or product to yield the |  |  |  |  |
|  |  | required item for subsequent testing or |  |  |  |  |
|  |  | calibration. |  |  |  |  |
| 7.3.3 | Retains records of sampling data that forms part of |  |  |  |  |  |
|  | the testing or calibration that is undertaken. These |  |  |  |  |  |
|  | records include, where relevant: |  |  |  |  |  |
|  | a) | reference to the sampling method used; |  |  |  |  |
|  | b) | date and time of sampling; |  |  |  |  |
|  | c) | data to identify and describe the sample (e.g. |  |  |  |  |
|  |  | number, amount, name); |  |  |  |  |
|  | d) | identification of the personnel performing |  |  |  |  |
|  |  | sampling; |  |  |  |  |
|  | e) | identification of the equipment used; |  |  |  |  |
|  | f) | environmental or transport conditions; |  |  |  |  |

Issue no.2	Page 14 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- diagrams or other equivalent means to identify the sampling location when appropriate;

- deviations, additions to or exclusions from the sampling method and sampling plan.

7.4	Handling of test or calibration items: How are the following addressed/implemented?

7.4.1	Procedure for the  transportation,  receipt,  handling,

protection, storage, retention, and disposal or return

of test or calibration items.

Precautions	taken	to	avoid	deterioration,

contamination,  loss  or  damage  to  the  item  during

handling,	transporting,	storing/waiting,	and

preparation for, testing or calibration.

Handling	instructions	provided	with	the	item	are

followed.

7.4.2	Have a system for the unambiguous identification of

test or calibration items.

Identification  retained  while  the  item  is  under  the

responsibility of the laboratory.

The system ensures that items will not be confused

physically  or  when  referred  to  in  records  or  other

documents.

Issue no. 2	Page 15 of 30	Date of issue: 2019-11-25

| CLAUSE | ISO/IEC 17025:2017 REQUIREMENTS | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- |
|  | How are the following addressed / implemented |  | NC |  |  |
|  | The system, if appropriate, accommodate a sub- |  |  |  |  |
|  | division of an item or groups of items and the |  |  |  |  |
|  | transfer of items. |  |  |  |  |
| 7.4.3 | Upon receipt of the test or calibration item, |  |  |  |  |
|  | deviations from specified conditions is recorded. |  |  |  |  |
|  | When there is doubt about the suitability of an item |  |  |  |  |
|  | for test or calibration, or when an item does not |  |  |  |  |
|  | conform to the description provided, the laboratory |  |  |  |  |
|  | consults the customer for further instructions before |  |  |  |  |
|  | proceeding and record the results of this |  |  |  |  |
|  | consultation. |  |  |  |  |
|  | When the customer requires the item to be tested or |  |  |  |  |
|  | calibrated acknowledging a deviation from specified |  |  |  |  |
|  | conditions, the laboratory include a disclaimer in the |  |  |  |  |
|  | report indicating which results may be affected by |  |  |  |  |
|  | the deviation. |  |  |  |  |
| 7.4.4 | Items needed to be stored or conditioned under |  |  |  |  |
|  | specified environmental conditions, these conditions |  |  |  |  |
|  | are maintained, monitored and recorded. |  |  |  |  |
| 7.5 | Technical records: How are the following addressed/implemented? |  |  |  |  |
| 7.5.1 | Technical records for each laboratory activity |  |  |  |  |
|  | contain the results, report and sufficient information |  |  |  |  |
|  | to facilitate, if possible, identification of factors |  |  |  |  |
|  | affecting the measurement result and its associated |  |  |  |  |
|  | measurement uncertainty and enable the repetition |  |  |  |  |
|  | of the laboratory activity under conditions as close |  |  |  |  |
|  | as possible to the original. |  |  |  |  |

Issue no.2	Page 16 of 30	Date of issue: 2019-11-25

| CLAUSE | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | How are the following addressed / implemented |  |  | NC |  |  |
|  | The technical records include the date and the |  |  |  |  |  |
|  | identity of personnel responsible for each laboratory |  |  |  |  |  |
|  | activity and for checking data and results. |  |  |  |  |  |
|  | Original observations, data and calculations are |  |  |  |  |  |
|  | recorded at the time they are made and are |  |  |  |  |  |
|  | identifiable with the specific task. |  |  |  |  |  |
| 7.5.2 | Amendments to technical records can be tracked to |  |  |  |  |  |
|  | previous versions or to original observations. |  |  |  |  |  |
|  | Both the original and amended data and files are |  |  |  |  |  |
|  | kept, including the date of alteration, an indication of |  |  |  |  |  |
|  | the altered aspects and the personnel responsible |  |  |  |  |  |
|  | for the alterations. |  |  |  |  |  |
| 7.6 | Evaluation of measurement uncertainty: How are the following addressed/implemented? |  |  |  |  |  |
| 7.6.1 | Identifythecontributionsto | measurement |  |  |  |  |
|  | uncertainty.Whenevaluating | measurement |  |  |  |  |
|  | uncertainty,allcontributionswhichareof |  |  |  |  |  |
|  | significance, including those arising from sampling, |  |  |  |  |  |
|  | are taken into account using appropriate methods of |  |  |  |  |  |
|  | analysis. |  |  |  |  |  |
| 7.6.2 | Laboratory performing calibrations, including of its |  |  |  |  |  |
|  | own equipment, shall evaluate the measurement |  |  |  |  |  |
|  | uncertainty for all calibrations. |  |  |  |  |  |

Issue no. 2	Page 17 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  | NC |  |  |
| 7.6.3 |  | Laboratory performing testing shall evaluate |  |  |  |  |
| Note in |  | measurement uncertainty. Where the test method |  |  |  |  |
| Std. |  | precludes rigorous evaluation of measurement |  |  |  |  |
|  |  | uncertainty, an estimation shall be made based on |  |  |  |  |
|  |  | an understanding of the theoretical principles or |  |  |  |  |
|  |  | practical experience of the performance of the |  |  |  |  |
|  |  | method. |  |  |  |  |
| 7.7 |  | Ensuring the validity of results: How are the following addressed/implemented? |  |  |  |  |
| 7.7.1 |  | Have a procedure for monitoring the validity of |  |  |  |  |
|  |  | results. |  |  |  |  |
|  |  | The resulting data are recorded in such a way that |  |  |  |  |
|  |  | trends are detectable and, where practicable, |  |  |  |  |
|  |  | statistical techniques are applied to review the |  |  |  |  |
|  |  | results. |  |  |  |  |
|  |  | Monitoring is planned and reviewed and include, |  |  |  |  |
|  |  | where appropriate, but not be limited to: |  |  |  |  |

- use of reference materials or quality control materials;

- use of alternative instrumentation that has been calibrated to provide traceable results;

- functional check(s) of measuring and testing equipment;

- use of check or working standards with control charts, where applicable;

- intermediate checks on measuring equipment;

Issue no.2	Page 18 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- replicate tests or calibrations using the same or different methods;

- retesting or recalibration of retained items;

- correlation of results for different characteristics of an item;

- review of reported results;

- intra-laboratory comparisons;

- testing of blind sample(s).

7.7.2	Monitor its performance by comparison with results

Note in	of	other	laboratories,	where	available	and

Std.	appropriate.

Monitoring is planned and reviewed and include, but

not be limited to, either or both of the following:

- participation in proficiency testing;

- participation in inter-laboratory comparisons other than proficiency testing.

Issue no. 2	Page 19 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  |  |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  |  | NC |  |  |
| 7.7.3 | Data from monitoring activities is analysed, used to |  |  |  |  |  |  |  |  |
|  | control and, if applicable, improve the laboratory’s |  |  |  |  |  |  |  |  |
|  | activities. If the results of the analysis of data from |  |  |  |  |  |  |  |  |
|  | monitoring activities are found to be outside pre- |  |  |  |  |  |  |  |  |
|  | defined criteria, appropriate action is taken to |  |  |  |  |  |  |  |  |
|  | prevent incorrect results from being reported. |  |  |  |  |  |  |  |  |
| 7.8 | Reporting of results: How are the following addressed/implemented? |  |  |  |  |  |  |  |  |
| 7.8.1.1 | Results reviewed and authorized prior to release. |  |  |  |  |  |  |  |  |
| Notes in |  |  |  |  |  |  |  |  |  |
| Std. |  |  |  |  |  |  |  |  |  |
| 7.8.1.2 | When agreed with the customer, the results may be |  |  |  |  |  |  |  |  |
|  | reported in a simplified way. Any information listed |  |  |  |  |  |  |  |  |
|  | in 7.8.2 to 7.8.7 that is not reported to the customer |  |  |  |  |  |  |  |  |
|  | shall be readily available. |  |  |  |  |  |  |  |  |
| 7.8.2 | Common requirements for reports (test, calibration or sampling) |  |  |  |  |  |  |  |  |
| 7.8.2.1 | Each report includes at least the following |  |  |  |  |  |  |  |  |
|  | information, unless the laboratory has valid reasons |  |  |  |  |  |  |  |  |
|  | for not doing so, thereby minimizing any possibility |  |  |  |  |  |  |  |  |
|  | of misunderstanding or misuse: |  |  |  |  |  |  |  |  |
|  | a) a title (e.g. “TestReport”,“Calibration |  |  |  |  |  |  |  |  |
|  |  | Certificate” or “Report of Sampling”); |  |  |  |  |  |  |  |
|  | b) the name and address of the laboratory; |  |  |  |  |  |  |  |  |
|  | c) | the location of performance of the laboratory |  |  |  |  |  |  |  |
|  |  | activities, including when performed at a |  |  |  |  |  |  |  |
|  |  | customer facility or at sites away from the |  |  |  |  |  |  |  |
|  |  | laboratory’spermanentfacilities,orin |  |  |  |  |  |  |  |
|  |  | associated temporary or mobile facilities; |  |  |  |  |  |  |  |
| Issue no.2 |  |  |  |  |  | Page 20 of 30 |  | Date of issue: 2019-11-25 |  |

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end;

- the name and contact information of the customer;

- identification of the method used;

- a description, unambiguous identification, and, when necessary, the condition of the item;

- the date of receipt of the test or calibration item(s), and the date of sampling, where this is critical to the validity and application of the results;

- the date(s) of performance of the laboratory activity;

- the date of issue of the report;

- reference to the sampling plan and sampling method used by the laboratory or other bodies where these are relevant to the validity or application of the results;

- a statement to the effect that the results relate only to the items tested, calibrated or sampled;

- the results with, where appropriate, the units of measurement;

Issue no. 2	Page 21 of 30	Date of issue: 2019-11-25

| CLAUSE | ISO/IEC 17025:2017 REQUIREMENTS |  |  |  |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | How are the following addressed / implemented |  |  |  |  |  | NC |  |  |
|  | n) additions to, deviations, or exclusions from the |  |  |  |  |  |  |  |  |
|  | method; |  |  |  |  |  |  |  |  |
|  | o) identification of the person(s) authorizing the |  |  |  |  |  |  |  |  |
|  | report; |  |  |  |  |  |  |  |  |
|  | p) clear identification when results are from |  |  |  |  |  |  |  |  |
|  | external providers. |  |  |  |  |  |  |  |  |
| 7.8.2.2 | Laboratory responsible for all the information |  |  |  |  |  |  |  |  |
|  | provided in the report, except when information is |  |  |  |  |  |  |  |  |
|  | provided by the customer. Data provided by a |  |  |  |  |  |  |  |  |
|  | customer clearly identified. In addition, a disclaimer |  |  |  |  |  |  |  |  |
|  | is put on the report when the information is supplied |  |  |  |  |  |  |  |  |
|  | by the customer and can affect the validity of |  |  |  |  |  |  |  |  |
|  | results. Where the laboratory has not been |  |  |  |  |  |  |  |  |
|  | responsible for the sampling stage (e.g. the sample |  |  |  |  |  |  |  |  |
|  | has been provided by the customer), it shall state in |  |  |  |  |  |  |  |  |
|  | the report that the results apply to the sample as |  |  |  |  |  |  |  |  |
|  | received. |  |  |  |  |  |  |  |  |
| 7.8.3 | Specific requirements for test reports: How are the following addressed/implemented? |  |  |  |  |  |  |  |  |
| 7.8.3.1 | In addition to the requirements listed in 7.8.2, test |  |  |  |  |  |  |  |  |
|  | reports shall, where necessary for the interpretation |  |  |  |  |  |  |  |  |
|  | of the test results, include the following: |  |  |  |  |  |  |  |  |
|  | a) information on specific test conditions, such as |  |  |  |  |  |  |  |  |
|  | environmental conditions; |  |  |  |  |  |  |  |  |
|  | b) where relevant, a statement of conformity with |  |  |  |  |  |  |  |  |
|  | requirements or specifications (see 7.8.6); |  |  |  |  |  |  |  |  |

Issue no.2	Page 22 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- where applicable, the measurement uncertainty presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent) when:

- it is relevant to the validity or application of the test results;

- a customer’s instruction so requires; or

O	the	measurement	uncertainty	affects

conformity to a specification limit.

- where appropriate, opinions and interpretations (see 7.8.7);

- additional information which may be required by specific methods, authorities, customers or groups of customers

7.8.3.2	Laboratory responsible for the sampling activity, its

test	reports  shall	meet	the	requirements  listed	in

7.8.5 where necessary for the interpretation of test

results.

| 7.8.4 | Specific requirements for calibration certificates: How are the following addressed/implemented? |  |  |  |
| --- | --- | --- | --- | --- |
| 7.8.4.1 | In addition to the requirements listed in 7.8.2, |  |  |  |
| Note in | calibration certificates shall include the following: |  |  |  |
| Std. |  |  |  |  |
|  | a)themeasurementuncertaintyofthe |  |  |  |
|  | measurement result presented in the same |  |  |  |
|  | unit as that of the measurand or in a term |  |  |  |
|  | relative to the measurand (e.g. percent); |  |  |  |

Issue no. 2	Page 23 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |  |

- the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results;

- a statement identifying how the measurements are metrologically traceable (see Annex A);

- the results before and after any adjustment or repair, if available;

- where relevant, a statement of conformity with requirements or specifications (see 7.8.6);

- where appropriate, opinions and interpretations (see 7.8.7).

| 7.8.4.2 | Laboratory responsible for the sampling activity, its |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | calibration certificates shall meet the requirements |  |  |  |  |  |  |  |
|  | listed in 7.8.5 where necessary for the interpretation |  |  |  |  |  |  |  |
|  | of test results. |  |  |  |  |  |  |  |
| 7.8.4.3 | A calibration certificate or calibration label shall not |  |  |  |  |  |  |  |
|  | contain any recommendation on the calibration |  |  |  |  |  |  |  |
|  | interval except where this has been agreed with the |  |  |  |  |  |  |  |
|  | customer. |  |  |  |  |  |  |  |
| 7.8.5 | Reporting sampling – specific requirements: How are the following addressed/implemented? |  |  |  |  |  |  |  |
|  | Where the laboratory is responsible for the |  |  |  |  |  |  |  |
|  | sampling activity, in addition to the requirements |  |  |  |  |  |  |  |
|  | listed in 7.8.2, reports shall include the following, |  |  |  |  |  |  |  |
|  | where necessary for the interpretation of results: |  |  |  |  |  |  |  |

Issue no.2	Page 24 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- the date of sampling;

- unique  identification  of  the  item  or  material

sampled (including the name of the manufacturer, the model or type of designation and serial numbers as appropriate);

- the location of sampling, including any diagrams, sketches or photographs;

- a reference to the sampling plan and sampling method;

- details of any environmental conditions during sampling that affect the interpretation of the test results;

- information required to evaluate measurement uncertainty for subsequent testing or calibration.

| 7.8.6 | Reporting statements of conformity: How are the following addressed/implemented? |  |  |  |
| --- | --- | --- | --- | --- |
| 7.8.6.1 | When a statement of conformity to a specification or |  |  |  |
| Note in | standard is provided, the laboratory documents the |  |  |  |
| Std | decision rule employed, taking into account the |  |  |  |
|  | level of risk (such as false accept and false reject |  |  |  |
|  | and statistical assumptions) associated with the |  |  |  |
|  | decision rule employed and apply the decision rule. |  |  |  |

Issue no. 2	Page 25 of 30	Date of issue: 2019-11-25

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  | NC |  |  |
| 7.8.6.2 | Report on the statement of conformity clearly |  |  |  |  |  |  |
| Note in | identifies: |  |  |  |  |  |  |
| Std. |  |  |  |  |  |  |  |
|  | a) | to which results the statement of | conformity |  |  |  |  |
|  |  | applies; |  |  |  |  |  |
|  | b) which specifications, standards or parts thereof |  |  |  |  |  |  |
|  |  | are met or not met; |  |  |  |  |  |
|  | c) the decision rule applied (unless it is inherent in |  |  |  |  |  |  |
|  |  | the requested specification or standard). |  |  |  |  |  |
| 7.8.7 | Reporting opinions and interpretations: How are the following addressed/implemented? |  |  |  |  |  |  |
| 7.8.7.1 | When opinions and interpretations are expressed, |  |  |  |  |  |  |
| Note in | the | laboratory to ensure that only | personnel |  |  |  |  |
| Std. | authorized for the expression of opinions and |  |  |  |  |  |  |
|  | interpretations releases the respective statement. |  |  |  |  |  |  |
|  | Laboratory document the basis upon which the |  |  |  |  |  |  |
|  | opinions and interpretations have been made. |  |  |  |  |  |  |
| 7.8.7.2 | Opinions and interpretations expressed in reports |  |  |  |  |  |  |
|  | are based on the results obtained from the tested or |  |  |  |  |  |  |
|  | calibrated item and are clearly identified as such. |  |  |  |  |  |  |
| 7.8.7.3 | Opinions and interpretations directly communicated |  |  |  |  |  |  |
|  | by dialogue with the customer, a record of the |  |  |  |  |  |  |
|  | dialogue is retained. |  |  |  |  |  |  |
| 7.8.8 | Amendments to reports: How are the following addressed/implemented? |  |  |  |  |  |  |
| 7.8.8.1 | When an issued report needs to be changed, |  |  |  |  |  |  |
|  | amended or re-issued, any change of information is |  |  |  |  |  |  |
|  | clearly identified and, where appropriate, the reason |  |  |  |  |  |  |
|  | for the change included in the report. |  |  |  |  |  |  |
| Issue no.2 |  |  |  | Page 26 of 30 |  | Date of issue: 2019-11-25 |  |

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  | NC |  |  |
| 7.8.8.2 |  | Amendments to a report after issue are made only |  |  |  |  |
|  |  | in the form of a further document, or data transfer, |  |  |  |  |
|  |  | which includes the statement “Amendment to |  |  |  |  |
|  |  | Report, serial number... [or as otherwise identified]”, |  |  |  |  |
|  |  | or an equivalent form of wording. |  |  |  |  |
| 7.8.8.3 |  | A completely new report is uniquely identified and |  |  |  |  |
|  |  | contains a reference to the original that it replaces. |  |  |  |  |
| 7.10 |  | Nonconforming work: How are the following addressed/implemented? |  |  |  |  |
| 7.10.1 |  | Have a procedure that is implemented when any |  |  |  |  |
|  |  | aspect of its laboratory activities or results of this |  |  |  |  |
|  |  | work do not conform to its own procedures or the |  |  |  |  |
|  |  | agreed requirements of the customer (e.g. |  |  |  |  |
|  |  | equipment or environmental conditions are out of |  |  |  |  |
|  |  | specified limits, results of monitoring fail to meet |  |  |  |  |
|  |  | specified criteria). The procedure ensures that: |  |  |  |  |

- the responsibilities and authorities for the management of nonconforming work are defined;

- actions (including halting or repeating of work and withholding of reports, as necessary) are based upon the risk levels established by the laboratory;

- an evaluation is made of the significance of the nonconforming work, including an impact analysis on previous results;

- a decision is taken on the acceptability of the nonconforming work;

Issue no. 2	Page 27 of 30	Date of issue: 2019-11-25

| CLAUSE | ISO/IEC 17025:2017 REQUIREMENTS |  |  | CAB’s COMMENTS | C/ | ASSESSOR’s COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | How are the following addressed / implemented |  |  |  | NC |  |  |
|  | e) where necessary, the customer is notified and |  |  |  |  |  |  |
|  | work is recalled; |  |  |  |  |  |  |
|  | f) the responsibility for authorizing the resumption |  |  |  |  |  |  |
|  | of work is defined. |  |  |  |  |  |  |
| 7.10.2 | Retain records of nonconforming work and actions |  |  |  |  |  |  |
|  | as specified in 7.10.1, bullets b) to f). |  |  |  |  |  |  |
| 7.10.3 | Evaluation indicating that the nonconforming work |  |  |  |  |  |  |
|  | could recur, or that there is doubt about the |  |  |  |  |  |  |
|  | conformity of the laboratory’s operations with its |  |  |  |  |  |  |
|  | own managementsystem,corrective action |  |  |  |  |  |  |
|  | implemented. |  |  |  |  |  |  |
| 7.11 | Control of data and information management: How are the following addressed/implemented? |  |  |  |  |  |  |
| 7.11.1 | Have access to the data and information needed to |  |  |  |  |  |  |
|  | perform laboratory activities. |  |  |  |  |  |  |
| 7.11.2 | LIMS used for the collection, processing, recording, |  |  |  |  |  |  |
| Note in | reporting, storage or retrieval of data is validated for |  |  |  |  |  |  |
| Std. | functionality, including the proper functioning of |  |  |  |  |  |  |
|  | interfaces within the LIMS by the laboratory before |  |  |  |  |  |  |
|  | introduction. |  |  |  |  |  |  |
|  | Changes including laboratory software configuration |  |  |  |  |  |  |
|  | ormodificationstocommercialoff-the-shelf |  |  |  |  |  |  |
|  | software, are authorized, documented and validated |  |  |  |  |  |  |
|  | before implementation. |  |  |  |  |  |  |
| 7.11.3 | The laboratory information management system(s) |  |  |  |  |  |  |
|  | is/are: |  |  |  |  |  |  |
| Issue no.2 |  |  |  | Page 28 of 30 |  | Date of issue: 2019-11-25 |  |

| CLAUSE |  | ISO/IEC 17025:2017 REQUIREMENTS |  | CAB’s COMMENTS |  | C/ |  | ASSESSOR’s COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | How are the following addressed / implemented |  |  |  | NC |  |  |

- protected from unauthorized access;

- safeguarded against tampering and loss;

- operated in an environment that complies with supplier or laboratory specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription;

- maintained in a manner that ensures the integrity of the data and information;

- include recording system failures and the appropriate immediate and corrective actions.

7.11.4	LIMS managed  and  maintained  off-site  or  through

an	external	provider,	laboratory	ensures	that	the

provider or operator of the system complies with all

applicable requirements of this document.

7.11.5	Instructions, manuals and reference data relevant to

the LIMS are readily available to personnel.

7.11.6	Calculations	and	data	transfers	checked	in	an

appropriate and systematic manner.

Issue no. 2	Page 29 of 30	Date of issue: 2019-11-25

Additional / General Comments  This space may also be used to expand on comments in specific sections

| Signed by: Team Leader/ |  | Date: |
| --- | --- | --- |
| Technical Assessor |  |  |
| Issue no.2 | Page 30 of 30 | Date of issue: 2019-11-25 |